# 3 (d) Optimisation with McStas:
# Finding best parameters to optimise an instrument
E. Farhi <farhi@ill.eu> - Thursday Sept 19th 2013.

### References:
Refer to the Workshops and Conferences McStas page at <http://mcstas.org/workshop/>
### Scope:
In this exercise, we shall demonstrate how to optimise some parameters of an instrument, that is those that e.g. maximize some criteria. We shall use a SANS instrument with colloidal suspension sample, and study the effect of gravitation. The optimal collimation will be found using parameter scanning, and a full automatic optimisation methodology.

For this exercise, you will need to have iFit installed, from <http://ifit.mccode.org> and select the standalone version (does not require Matlab license).

### 3D.1: Use a SANS instrument
We shall start from the template SANS instrument, and slightly modify it.

1. Open McGUI and select the Neutron Site/Templates/templateSANS
2. Modify the Ldetector component to be a Monitor_nD with automatic limits: options="auto, lambda", bins=1000
3. Run the instrument with lambda=6 Angs neutrons and plot the results. Use log scale (press L-key). Look at the centre of the scattering pattern (X0,Y0). Is it centred ?
4. Would gravitation effect over 3 m distance for 10 Angs neutrons (v=629.62*2p/l=263 m/s) be visible ?

### 3D.2: Optimizing a slit position
1. To avoid any direct beam pass through, and not be blocked by the beam stop at the detector, add a perfect beam stop after the AT token on the sample:
  EXTEND %{
  if (!SCATTERED) ABSORB;
  %}
2. Add two instrument parameters X0=0 and Y0=0, and modify the 2nd slit position as AT(X0,Y0,6)
3. Save the instrument as slitSANS.instr and run it to check that it compiles and executes correctly.
4. Start iFit and 'cd' to the location of the slitSANS.instr description.
5. iFit optimisation for McStas is documented on <http://ifit.mccode.org/McStas.html>
6. Many optimizers are available in iFit. Read <http://ifit.mccode.org/Optimizers.html>
7. We shall maximize the 'PSD.dat' total intensity file ('detector' instance) by varying the (X0,Y0) parameters. The X0 and Y0 parameters will be searched in a 6x6 cm² area, starting from X0=-0.01 and Y0=-0.01. To do that, define a structure 'p' holding parameters X0 and Y0:
  iFit>> p.X0=[-0.02 -0.01 0.02]; p.Y0=p.X0;
8. Launch an optimisation with syntax (takes about 100 iterations):
  [parameters, monitors, status, output]=mcstas('slitSANS.instr', p,
  'monitors=detector; ncount=1e6; mode=optimize; optimizer=fmincmaes');
9. Does the optimized slit position fit the theoretical one ?

Solutions to 3D.2:
/*******************************************************************************
*
* McStas, neutron ray-tracing package
* Copyright (C) 1997-2008, All rights reserved
* Risoe National Laboratory, Roskilde, Denmark
* Institut Laue Langevin, Grenoble, France
*
* Instrument: slitSANS
*
* %Identification
* Written by: Luke Skywalker
* Date: 19th Dec 2003.
* Origin: The Moon
* Release: McStas CVS_080624
* Version: $Revision: 4382 $
* %INSTRUMENT_SITE: Death_Star
*
* Test instrument for the Sans_spheres component. No guide / velocity selector
* etc.
*
* %Description
* Very simple test instrument for the Sans_spheres component
*
* %Example: lambda=6 Detector: detector_I=6.55e-17
*
* %Parameters
* INPUT PARAMETERS:
* lambda: Mean wavelength of neutrons [AA]
* dlambda: Wavelength spread of neutrons [AA]
* r: Radius of scattering hard spheres [AA]
* PHI: Particle volume fraction [1]
* Delta_Rho: Excess scattering length density (fm/AA^3)
* sigma_abs: Absorption cross section at 2200 m/s [barns]
* X0: 2nd slit horizontal shift [m]
* Y0: 2nd slit vertical shift [m]
*
* %Link
* *
* %End
*******************************************************************************/
DEFINE INSTRUMENT slitSANS(lambda=6, dlambda=0.05, r=100,
  PHI=1e-3, Delta_Rho=0.6, sigma_abs=0.5, X0=0,Y0=0)

TRACE

COMPONENT a1 = Progress_bar()
  AT (0,0,0) ABSOLUTE

COMPONENT arm = Arm(
    )
  AT (0, 0, 0) ABSOLUTE

COMPONENT source = Source_simple(
    radius = 0.02, dist = 3, focus_xw = 0.01, focus_yh = 0.01,
    lambda0 = lambda, dlambda = dlambda, flux = 1e8)
  AT (0, 0, 0) RELATIVE arm

COMPONENT coll1 = Slit(
    radius = 0.005)
  AT (0, 0, 3) RELATIVE arm

COMPONENT coll2 = Slit(
    radius = 0.005)
  AT (X0,Y0, 6) RELATIVE arm

SPLIT COMPONENT sample = Sans_spheres(
  R=r, Phi=PHI, Delta_rho=Delta_Rho, sigma_abs=sigma_abs,
  xwidth=0.01, yheight=0.01, zdepth=0.005)
   AT (0,0,0.2) RELATIVE coll2
   EXTEND %{
     if (!SCATTERED) ABSORB;
   %}

COMPONENT STOP = Beamstop(
    radius = 0.02)
  AT (0, 0, 2.9) RELATIVE sample

COMPONENT detector = PSD_monitor(
    nx = 128, ny = 128, filename = "PSD.dat", xmin = -0.3,
    xmax = 0.3, ymin = -0.3, ymax = 0.3)
  AT (0, 0, 3) RELATIVE sample

COMPONENT PSDrad = PSD_monitor_rad(
    filename = "psd2.dat", filename_av = "psd2_av.dat", rmax = 0.3)
  AT (0, 0, 3.02) RELATIVE sample

END